## Table 1
S/N | Items Description | Additional Description |  | 外径 | 壁厚 | Unit | Qty | Remarks
A1 | Levell Transmitter and Level Gauges Hook-up Piping（管道）
1 | 2" Sch. 40/ STD Pipe A106, 6m Length | PIPE, SMLS, SCH XS, ASTM A106 GR B PBE | 无缝管 | 2" | Sch. 40/ STD | Length | 43
2 | 3/4" Sch. XS Pipe A106, 6m Length | PIPE, SMLS, SCH XS, ASTM A106 GR B | 无缝管 | 3/4" | Sch. XS | Length | 1
3 | 2" Flange CL 150, WNRF A105 | FLG WELD NECK, 150LB, SCH STD, ASTM A105 | WN法兰 | 2" |  | Nos | 249
4 | 2" 90 deg. Elbow Sch. 40/ STD A234 | 90 LR ELL, SCH STD, ASTM A234 GR WPB | 90度弯头-LR | 2" | Sch. 40/ STD | Nos | 153
5 | 2" x 3/4" Suckolet CL 3000 A105 | SOCK-O-LET, SW,3000LB, ASTM A105 | 承插焊支管台-SW | 2" x 3/4" |  | Nos | 68
6 | 2" CL 150 Spectacle Blind A105 | SPECTACLE BLIND ASTM A516 70N | 8字盲板 | 2" |  | Nos | 56
7 | Structural support (H-Beam) |  | H型钢 |  |  | Mtr | 17
8 | 2" U-bolt |  | U型螺栓 | 2" |  | Nos | 51
9 | 2" CL 150 Gasket, 1/8" Thk | GASKET, 150LB, 1/8" THK | 垫片 | 2" | 1/8" THK | Nos | 382
10 | 5/8" Stud Bolts, 85mm Length | (4) STUD BOLTS W/ NUTS, 82.6 LG, ASTM A193/194 GR B7/2H | 双头螺栓带螺母 | 5/8" |  | Nos | 1496
11 | 5/8" Stud Bolts, 95mm Length | (4) STUD BOLTS W/ NUTS, 95 LG, ASTM A193/194 GR B7/2H | 双头螺栓带螺母-L=95mm | 5/8" |  | Nos | 272
A2 | Structural Support for 4" Vapour Balance Line
1 | 4" U-bolt- Support for 4" Vapour Balance |  | U型螺栓 | 4“ |  | Nos | 34
A3 | Dummy Spool for PSV Installation
1 | 4" Flange CL 150, WNRF A105 | FLG WELD NECK, 150LB, SCH STD, ASTM A105 | WN法兰 | 4" |  | Nos | 55
2 | 4" CL 150 Gasket, 1/8" Thk | GASKET, 150LB, 1/8" THK | 垫片 | 4" | 1/8" THK | Nos | 34
3 | 5/8" Stud Bolts, 90mm Length | (8) STUD BOLTS W/ NUTS, 95.30000 LG, ASTM A193/194 GR B7/2H | 双头螺栓带螺母-L=90mm | 5/8" |  | Nos | 272
II | MAKESHIFT INSTRUMENT AIR
1 | 2" Sch. STD Pipe A106, 12m Length | PIPE, SMLS, SCH STD, ASTM A106 GR B | 无缝管 | 2" | Sch. STD | Length | 2
2 | 4" Sch. STD Pipe A106, 12m Length | PIPE, SMLS, SCH STD, ASTM A106 GR B | 无缝管 | 4" | Sch. STD | Length | 3
3 | 2" 90 Deg. Elbow (Long Radius) Sch. STD A234 | 90 LR ELL, SCH STD, ASTM A234 GR WPB | 90度弯头-LR | 2" | Sch. STD | Nos. | 8
4 | 4" 90 Deg. Elbow (Long Radius) Sch. STD A234 | 90 LR ELL, SCH STD, ASTM A234 GR WPB | 90度弯头-LR | 4" | Sch. STD | Nos. | 4
5 | 2" Equal Tee Sch. STD GR WPB | TEE, SCH STD, ASTM A234 GR WPB | 等径三通 | 2" | Sch. STD | Nos. | 3
6 | 4 x 2" Conc. Red, Sch. STD A234, GR WPB |  | 同心异径管 | 4 x 2" | Sch. STD | Nos. | 2
7 | 2" Flange WN, Sch. STD, CL 150 A105 |  | WN法兰 | 2" | Sch. STD | Nos. | 11
8 | 2" Flange Blind, A105 |  | 盲板法兰 | 2" |  | Nos. | 2
9 | 5/8" Stud Bolts, 82.6mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 5/8" |  | Nos | 40
10 | 2" Gasket, CL 150, 1/8" Thk |  | 垫片 | 2" | 1/8" THK | Nos | 15
11 | 2" Spectacle Blind, CL 150, A105 |  | 8字盲板 | 2" |  | Nos | 3
III | LPG AND PROPANE RETURN LINES
1 | 3" Sch. STD Pipe A106 GR B, 12m Length |  | 钢管 | 3" | Sch. STD | Length | 2
2 | 3/4" Sch. XS Pipe A106 GR B, 12m Length |  | 钢管 | 3/4" | Sch. XS | Length | 1
3 | 6" Sch. STD Pipe A106 GR B, 12m Length |  | 钢管 | 6" | Sch. STD | Length | 5
4 | 3" 90 Deg. Elbow (Long Radius) Sch. STD A234 WPB |  | 等径三通 | 3" | Sch. STD | Nos. | 3
5 | 3" Equal Tee Sch. 40 A234 GR WPB |  | 等径三通 | 3" | Sch. 40 | Nos. | 1
6 | 3" Equal Tee Sch. STD A234 GR WPB |  | 等径三通 | 3" | Sch. STD | Nos. | 1
7 | 6 x 3" Ecc. Red, Sch. STD A234, GR WPB |  | 偏心异径管 | 6 x 3" | Sch. STD | Nos. | 1
8 | 3" Flange WN, Sch. STD, CL 150 A105 |  | WN法兰 | 3" | Sch. STD | Nos. | 10
9 | 3" Flange WN, Sch. 40, CL 300 A105 |  | WN法兰 | 3" | Sch. 40 | Nos. | 1
10 | 6" Flange WN, Sch. STD, CL 150 A105 |  | WN法兰 | 6" | Sch. STD | Nos. | 9
11 | 3/4" Stud Bolts, 101.6mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 3/4" |  | Nos | 32
12 | 3/4" Stud Bolts, 102mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 3/4" |  | Nos | 12
13 | 3/4" Stud Bolts, 108mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 3/4" |  | Nos | 12
14 | 5/8" Stud Bolts, 95mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 5/8" |  | Nos | 44
15 | 3" Gasket, CL 150, 1/8" Thk |  | 垫片 | 3" | 1/8" THK | Nos | 12
16 | 3" Gasket, CL 300, 1/8" Thk |  | 垫片 | 3" | 1/8" THK | Nos | 2
17 | 6" Gasket, CL 150, 1/8" Thk |  | 垫片 | 6" | 1/8" THK | Nos | 6
18 | 3" x 3/4" Sockolet, CL 3000 A105 |  | 承插焊支管台 | 3" x 3/4" |  | Nos. | 3
IV | INSTRUMENT AIR PACKAGE-MODIFICATION
1 | 1 1/2" Sch. XS Pipe A106 GR B, 12m Length |  | 钢管 | 1 1/2" | Sch. XS | Length | 1
2 | 2" Sch. STD Pipe A106 GR B, 12m Length |  | 钢管 | 2" | Sch. STD | Length | 19
3 | 2" 90 Deg. Elbow (Long Radius) Sch. STD A234 WPB |  | 90度弯头-LR | 2" | Sch. STD | Nos. | 16
4 | 2" 45 Deg. Elbow (Long Radius) Sch. STD A234 WPB |  | 45度弯头-LR | 2" | Sch. STD | Nos. | 4
5 | 2" Equal Tee Sch. STD GR WPB |  | 等径三通 | 2" | Sch. STD | Nos. | 7
6 | 2 x 1 1/2" Conc. Red, XS. STD A234, GR WPB |  | 同心异径管 | 2 x 1 1/2" |  | Nos. | 3
7 | 2" Flange WN, Sch. STD, CL 150 A105 |  | WN法兰 | 2" | Sch. STD | Nos. | 14
8 | 2" Flange Bld, CL 150 A105 |  | 盲板法兰 | 2" |  | Nos. | 5
9 | 1 1/2" Flange Socket Weld, CL 150 A105 |  | SW法兰 | 1 1/2" |  | Nos. | 2
10 | 1/2" Stud Bolts, 76.2mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 1/2" |  | Nos | 16
11 | 5/8" Stud Bolts, 82.6mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 5/8" |  | Nos | 36
12 | 5/8" Stud Bolts, 83mm Length ASTM A193/194 GR B7/2H |  | 双头螺栓 | 5/8" |  | Nos | 16
13 | 1 1/2" Gasket, CL 150, 1/8" Thk |  | 垫片 | 1 1/2" | 1/8" THK | Nos | 3
14 | 2" Gasket, CL 150, 1/8" Thk |  | 垫片 | 2" | 1/8" THK | Nos | 21
15 | 2" Spectacle Blind, CL 150, A105 |  | 8字盲板 | 2" |  | Nos | 5
V | COLD VENT KO DRUM MODIFICATION
1 | 2" Sch. STD Pipe A106 GR B, 12m Length |  | 钢管 | 2" | Sch. STD | Length | 1
2 | 2" Sch. STD Pipe A333 GR 6, 12m Length |  | 钢管 | 2" | Sch. STD | Length | 1
3 | 3" Sch. STD Pipe A333 GR 6, 12m Length |  | 钢管 | 3" | Sch. STD | Length | 1
4 | 6" Sch. STD Pipe A333 GR 6, 12m Length |  | 钢管 | 6" | Sch. STD | Length | 1
5 | 2" 90 Deg. Elbow (Long Radius) Sch. STD A420 WPL6 |  | 90度弯头-LR | 2" | Sch. STD | Nos. | 5
6 | 3" 90 Deg. Elbow (Long Radius) Sch. STD A420 WPL6 |  | 90度弯头-LR | 3" | Sch. STD | Nos. | 3
7 | 6" 90 Deg. Elbow (Long Radius) Sch. STD A420 WPL6 |  | 90度弯头-LR | 6" | Sch. STD | Nos. | 3
8 | 3" Conc. Red, Sch. STD, A420, GR WPL6 |  | 同心异径管 | 3" | Sch. STD | Nos. | 3
9 | 6" Conc. Red, Sch. STD, A420, GR WPL6 |  | 同心异径管 | 6" | Sch. STD | Nos. | 3
10 | 2" Flange WN, Sch. STD, CL 150 A105 |  | WN法兰 | 2" | Sch. STD | Nos. | 2
11 | 2"Flange WN, Sch. STD, CL 150 A350 |  | WN法兰 | 2" | Sch. STD | Nos. | 2
12 | 6" Flange WN, Sch. STD, CL 150 A350 |  | WN法兰 | 6" | Sch. STD | Nos. | 2
13 | 2" Flange Bld, CL 150 A105 |  | 盲板法兰 | 2" |  | Nos. | 1
14 | 3/4" Stud Bolts, 102mm Length A193/194 GR B7/2H |  | 双头螺栓 | 3/4" |  | Nos | 24
15 | 5/8" Stud Bolts, 83mm Length A193/194 GR B7/2H |  | 双头螺栓 | 5/8" |  | Nos | 20
16 | 2" Gasket, CL 150, 1/8" Thk |  | 垫片 | 2" | 1/8" THK | Nos | 8
17 | 6" Gasket, CL 150, 1/8" Thk |  | 垫片 | 6" | 1/8" THK | Nos | 4
18 | 2" Spectacle Blind, CL 150, A516 |  | 8字盲板 | 2" |  | Nos | 2
VI | PIPELINE HOOK-UP to SIGP/ESD SKID
1 | 4 x 2" Sch. 40, Conc. Reducer (IA SIGP Hook-up) |  | 同心异径管 | 4 x 2" | Sch. 40 | Pcs | 2
2 | 4" 90 deg. Bend, Sch. 40 Coated SA 106 Grade B (IA SIGP/ESD Hook-up) |  | 90度弯管 | 4" | Sch. 40 | Pcs | 6
3 | 2" 90 Deg. Elbow (Long Radius) Sch. STD A106 WPB |  | 90度弯头-LR | 2" | Sch. STD | Nos. | 2
4 | 3" 90 Deg. Elbow (Long Radius) Sch. STD A106 WPB |  | 90度弯头-LR | 3" | Sch. STD | Nos. | 2
5 | 4" 90 Deg. Elbow (Long Radius) Sch. STD A106 WPB |  | 90度弯头-LR | 4" | Sch. STD | Nos. | 2
VII | HOOK UP OF DRAIN LINES TO BULLET
1 | 3"x2" RED CONC, SCH STD, ASTM A234 GR WPB 150 LB |  | 同心异径管 | 3"x2" | Sch. STD
2 | 2" FLG WELD NECK, 150LB, SCH STD, ASTM A105 |  | WN法兰 | 2" | Sch. STD | Nos. | 19
3 | 50NB GASKET, 150LB, 1/8" THK (SPW AISI 316 GF CS Centering/SS Inner Ring) |  | 垫片(不锈钢芯 石墨填充 碳钢外圈 | 50NB | 1/8" THK | Nos. | 19
[6 empty] | Nos. | 19
VIII | INSTALLATION OF NIPPLE ON INSTRUMENT LINE TO SDV
1 | 12.7NB CARBON STEEL NIPPLE PIPE, SCH 40, ONE END THREADED (OET), ASTM A106 Gr B / A53 Gr B, NPT ASME B1.20.1, LENGTH 200MM. (ASTM A 106 Gr. B) |  | 12.7NB碳钢接头管，一端螺纹（OET） |  | Sch. 40 | Nos. | 74
SUBTOTAL